| Date | Version | Author |
| --- | --- | --- |
| 12.2013 | V2 | Albert Merz |

HYDROCAL 1001+
Order sheet including accessories

Necessary information and standard accessories

| Pos. | Description |  | Quantity |
| --- | --- | --- | --- |
| 010 | Power supply |  |  |
|  | Nominal voltage version | Supply voltage |  |
|  | 120 V -20% +15% AC 50/60Hz | 96 Vmin ... 138 Vmax AC 50/60Hz | 0 |
|  | 230 V -20% +15% AC 50/60Hz | 184 Vmin ... 264 Vmax AC 50/60Hz | 0 |
|  | 120 V -20% +15% DC | 96 Vmin ... 138 Vmax DC | 0 |
|  | 230 V -20% +15% DC | 184 Vmin ... 264 Vmax DC | 0 |
| 020 | Connection unit thread |  |  |
|  | G 1½” DIN ISO 228-1 |  | 0 |
|  | 1½” NPT ANSI B 1.20.1 |  | 0 |
| 030 | Communication interface ETHERNET 10/100Mbit/s |  |  |
|  | Copper wired - RJ45 |  | 0 |
| 040 | Configuration Digital Relay Output 1 (Function: System okay) |  |  |
|  | Normally Open (Standard) System okay Contact closed | Normally Closed System okay Contact open |  |
| 050 | Manual for installation and operation |  |  |
|  | German |  | 0 |
|  | English |  | 0 |
| 060 | Test certificate |  |  |
|  | German |  | 0 |
|  | English |  | 0 |
|  | Russian |  | 0 |

| 070 | Installation on |  |
| --- | --- | --- |
|  | new Transformer | 0 |
|  | old Transformer | 0 |

Optional accessories

| Pos. | Description |  | Quantity |
| --- | --- | --- | --- |
| 110 | Communication interface ETHERNET 10/100Mbit/s |  |  |
|  | Fibre optical - SC Duplex (Instead of Pos. 030) |  | 0 |
| 120 | Commissioning / training |  |  |
|  | Number of days by EMH |  | 0 |
|  | Number of days by MTE |  | 0 |

Additional information

| End customer |  |
| --- | --- |
| Name |  |
| Address |  |
| Street |  |
| City |  |
| Country |  |
| Substation |  |
| Name |  |
| Address |  |
| Street |  |
| City |  |
| Country |  |
| Transformer |  |
| Manufacturer |  |
| Manufacturing Year |  |
| Serial Number |  |
| Power Rating [MVA] |  |
| Voltage Rating [kV] |  |

Remarks