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Necessary information and standard accessories
	Pos.
	Description
	Quantity

	010
	Power supply

	
	Nominal voltage version
	Supply voltage
	

	
	120 V -20% +15% AC 50/60Hz
	  96 Vmin ... 138 Vmax AC 50/60Hz
	0

	
	230 V -20% +15% AC 50/60Hz
	184 Vmin ... 264 Vmax AC 50/60Hz
	0

	
	120 V -20% +15% DC
	  96 Vmin ... 138 Vmax DC
	0

	
	230 V -20% +15% DC
	184 Vmin ... 264 Vmax DC
	0

	020
	Connection unit thread

	
	G 1½” DIN ISO 228-1
	0

	
	1½” NPT ANSI B 1.20.1
	0

	030
	Configuration Analog DC Inputs

	
	Current 0/4 … 20 mA (Standard)
	Voltage 0 … 10 V
	

	
	In1
	In2
	In3
	In4
	In1
	In2
	In3
	In4
	

	
	|X|
	|X|
	|X|
	|X|
	|_|
	|_|
	|_|
	|_|
	

	040
	Manual for installation and operation

	
	German
	0

	
	English
	0

	050
	Test certificate

	
	German
	0

	
	English
	0

	
	Russian
	0

	060
	Installation on

	
	new Transformer
	0

	
	old Transformer
	0




Optional accessories
	Pos.
	Description
	Quantity

	110
	On-Board Modem (Analog) with connection cable L = 15 m

	
	
	
	0

	120
	Modem (GSM) with connection cable and GSM antenna

	
	
	
	
	L = 3 m

	
	
	
	
	0

	
	
	
	
	L = 5 m

	
	
	
	
	0

	130
	Communication interface ETHERNET 10/100Mbit/s (Copper wired)

	
	
	0

	140
	Communication interface ETHERNET 10/100Mbit/s (Fibre optical)
with media converter SC-Duplex and RJ45 patch cable

	
	
	
	
	0

	150
	Modem (DNP3)

	
	
	0

	160
	On-Board Modem (IEC61850) with shielding cover and connection card

	
	
	
	
	0

	170
	Commissioning / training

	
	Number of days by EMH
	0

	
	Number of days by MTE
	0




Additional information
	End customer

	Name
	

	Address
	

	Street
	

	City
	

	Country
	

	Substation

	Name
	

	Address
	

	Street
	

	City
	

	Country
	

	Transformer

	Manufacturer
	

	Manufacturing Year
	

	Serial Number
	

	Power Rating [MVA]
	

	Voltage Rating [kV]
	



	Remarks
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