| Date | Version | Author |
| --- | --- | --- |
| 10.2014 | V8 | Albert Merz |

HYDROCAL 1003
Order sheet including accessories

Necessary information and standard accessories

| Pos. | Description |  |  |  |  |  |  |  | Quantity |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 010 | Power supply |  |  |  |  |  |  |  |  |
|  | Nominal voltage version |  |  |  | Supply voltage |  |  |  |  |
|  | 120 V -20% +15% AC 50/60Hz |  |  |  | 96 Vmin ... 138 Vmax AC 50/60Hz |  |  |  | 0 |
|  | 230 V -20% +15% AC 50/60Hz |  |  |  | 184 Vmin ... 264 Vmax AC 50/60Hz |  |  |  | 0 |
|  | 120 V -20% +15% DC |  |  |  | 96 Vmin ... 138 Vmax DC |  |  |  | 0 |
|  | 230 V -20% +15% DC |  |  |  | 184 Vmin ... 264 Vmax DC |  |  |  | 0 |
| 020 | Connection unit thread |  |  |  |  |  |  |  |  |
|  | G 1½” DIN ISO 228-1 |  |  |  |  |  |  |  | 0 |
|  | 1½” NPT ANSI B 1.20.1 |  |  |  |  |  |  |  | 0 |
| 030 | Configuration Analog DC Inputs |  |  |  |  |  |  |  |  |
|  | Current 0/4 … 20 mA (Standard) |  |  |  | Voltage 0 … 10 V |  |  |  |  |
|  | In1 | In2 | In3 | In4 | In1 | In2 | In3 | In4 |  |
| 040 | Manual for installation and operation |  |  |  |  |  |  |  |  |
|  | German |  |  |  |  |  |  |  | 0 |
|  | English |  |  |  |  |  |  |  | 0 |
| 050 | Test certificate |  |  |  |  |  |  |  |  |
|  | German |  |  |  |  |  |  |  | 0 |
|  | English |  |  |  |  |  |  |  | 0 |
|  | Russian |  |  |  |  |  |  |  | 0 |
| 060 | Installation on |  |  |  |  |  |  |  |  |
|  | new Transformer |  |  |  |  |  |  |  | 0 |
|  | old Transformer |  |  |  |  |  |  |  | 0 |

Optional accessories

| Pos. | Description |  |  |  | Quantity |
| --- | --- | --- | --- | --- | --- |
| 110 | On-Board Modem (Analog) with connection cable L = 15 m |  |  |  |  |
|  |  |  |  |  | 0 |
| 120 | Modem (GSM) with connection cable and GSM antenna |  |  |  |  |
|  |  |  |  |  | L = 3 m |
|  |  |  |  |  | 0 |
|  |  |  |  |  | L = 5 m |
|  |  |  |  |  | 0 |
| 130 | Communication interface ETHERNET 10/100Mbit/s (Copper wired) |  |  |  |  |
|  |  |  |  |  | 0 |
| 140 | Communication interface ETHERNET 10/100Mbit/s (Fibre optical) with media converter SC-Duplex and RJ45 patch cable |  |  |  |  |
|  |  |  |  |  | 0 |
| 150 | Modem (DNP3) |  |  |  |  |
|  |  |  |  |  | 0 |
| 160 | On-Board Modem (IEC61850) with shielding cover and connection card |  |  |  |  |
|  |  |  |  |  | 0 |
| 170 | Commissioning / training |  |  |  |  |
|  | Number of days by EMH |  |  |  | 0 |
|  | Number of days by MTE |  |  |  | 0 |

Additional information

| End customer |  |
| --- | --- |
| Name |  |
| Address |  |
| Street |  |
| City |  |
| Country |  |
| Substation |  |
| Name |  |
| Address |  |
| Street |  |
| City |  |
| Country |  |
| Transformer |  |
| Manufacturer |  |
| Manufacturing Year |  |
| Serial Number |  |
| Power Rating [MVA] |  |
| Voltage Rating [kV] |  |

Remarks