| Date | Version | Author |
| --- | --- | --- |
| 10.2014 | V8 | Albert Merz |

HYDROCAL 1005
Order sheet including accessories

Necessary information and standard accessories

| Pos. | Description |  | Quantity |
| --- | --- | --- | --- |
| 010 | Power supply |  |  |
|  | Nominal voltage version | Supply voltage |  |
|  | 120 V -20% +15% AC 50/60Hz | 96 Vmin ... 138 Vmax AC 50/60Hz | 0 |
|  | 230 V -20% +15% AC 50/60Hz | 184 Vmin ... 264 Vmax AC 50/60Hz | 0 |
|  | 120 V -20% +15% DC | 96 Vmin ... 138 Vmax DC | 0 |
|  | 230 V -20% +15% DC | 184 Vmin ... 264 Vmax DC | 0 |
| 020 | Connection unit thread |  |  |
|  | G 1½” DIN ISO 228-1 |  | 0 |
|  | 1½” NPT ANSI B 1.20.1 |  | 0 |
| 030 | Communication interface ETHERNET 10/100Mbit/s |  |  |
|  | Copper wired - RJ45 |  | 0 |
|  | Fibre optical - SC Duplex |  | 0 |
| 040 | Configuration Digital Relay Output 1 |  |  |
|  | Normally Open (Standard) | Normally Closed |  |
| 050 | Manual for installation and operation |  |  |
|  | German |  | 0 |
|  | English |  | 0 |
| 060 | Test certificate |  |  |
|  | German |  | 0 |
|  | English |  | 0 |
|  | Russian |  | 0 |
| 070 | Installation on |  |  |
|  | new Transformer |  | 0 |
|  | old Transformer |  | 0 |

Optional accessories

| Pos. | Description |  |  |  |  |  |  |  |  |  |  |  | Quantity |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 110 | On-Board Modem (Analog) with connection cable L = 15 m |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 0 |
| 120 | On-Board Modem (GSM) with connection cable and GSM antenna |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | L = 3 m |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 0 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | L = 5 m |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 0 |
| 130 | On-Board Modem (DNP3) |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 0 |
| 140 | On-Board Modem (IEC61850) with patch cable, shielding cover and connection card – Note: only possible with communication interface ETHERNET copper wired - RJ45 |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | RJ45 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 0 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | SC Duplex |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 0 |
| 150 | Measurement input- and opto-coupler output card |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 0 |
|  | Configuration Analog AC Inputs |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Current 0/4 … 20 mA (Standard) |  |  |  |  |  | Voltage 0 … 80 V |  |  |  |  |  |  |
|  | In1 | In2 | In3 | In4 | In5 | In6 | In1 | In2 | In3 | In4 | In5 | In6 |  |

| 160 | Commissioning / training |  |
| --- | --- | --- |
|  | Number of days by EMH | 0 |
|  | Number of days by MTE | 0 |

Additional information

| End customer |  |
| --- | --- |
| Name |  |
| Address |  |
| Street |  |
| City |  |
| Country |  |
| Substation |  |
| Name |  |
| Address |  |
| Street |  |
| City |  |
| Country |  |
| Transformer |  |
| Manufacturer |  |
| Manufacturing Year |  |
| Serial Number |  |
| Power Rating [MVA] |  |
| Voltage Rating [kV] |  |

Remarks